## Overview
Overview
ENERGY CONSERVATION PLAN OVERVIEW FOR THE PILOT CANNABIS CULTIVATION PROGRAM
ENERGY INTENSITY OF THE CANNABIS INDUSTRY: Cannabis is an energy-intensive industry, with indoor cultivation consuming about 10 times the amount of energy as a typical office building. While less energy-intensive than indoor cultivation, mixed light operations consume considerable energy as well. VENTURA COUNTY CLIMATE GOALS: In line with the the Ventura County General Plan (VC2040), which specifies a community-wide greenhouse gas (GHG) emissions reduction target of 41 percent below 2015 levels by 2030, this Energy Conservation Plan (ECP) encourages energy efficiency and the use of clean energy for new cannabis cultivation facilities in the county. ENERGY CONSERVATION PLAN REQUIREMENTS: The ECP must demonstrate at least a 25 percent reduction of anticipated conventional energy use with existing or proposed energy conservation and/or energy generation infrastructure. The use of energy efficient technologies and onsite renewable energy may be calculated for the 25 percent reduction. Annual verification of energy use will be required. Applicants unable to achieve the 25 percent reduction can enroll in a 100% green power program via Clean Power Alliance or Southern California Edison. INSTRUCTIONS: Review this "Overview" tab in full, then complete the "Energy Conservation Plan" tab by filling in the white cells. Submit this completed worksheet along with any required verification documentation with your license application. GET EDUCATED ON ENERGY: Resources are provided below to offer information on how to establish an energy-efficient and cost-effective facility.
ENERGY RESOURCES FOR CANNABIS CULTIVATORS
Topic | Resource | Source
LEDs | Cultivating Cannabis with LED Lighting A PRIMER: What You Need To Know | Resource Innovation Institute
LEDs | LED Lighting for Cannabis Cultivation & Controlled Environment Agriculture Best Practices Guide | Resource Innovation Institute
LEDs | Key Lighting Terms | Resource Innovation Institute
HVAC | HVAC for Cannabis Cultivation & Controlled Environment Agriculture Best Practices Guide | Resource Innovation Institute
HVAC | HVAC Key Terms | Resource Innovation Institute
Solar | Guide to the Federal Investment Tax Credit for Commercial Solar Photovoltaics | U.S. Department of Energy
Solar | California Solar Initiative (CSI) | CA Public Utilities Commission
Case studies | Cannabis Energy Case Studies | Resource Innovation Institute
Benchmarking | Cannabis PowerScore | Resource Innovation Institute
Efficient Cultivation | WEBINAR: Best Practices on Energy Efficient Cultivation: Understanding Key Terms, Maximizing Utility Incentives and Optimizing Profit | Cannabis Business Times
Local resources | Energy Saving Resources for Businesses | Ventura County Regional Energy Alliance
Energy code | Energy Code Coach: free energy code support | Tri-County Regional Energy Network (3C-REN)

## Energy Conservation Plan
Ventura County Cannabis Energy Conservation Plan
An applicant for a cannabis business license for an indoor or mixed light cultivation facility shall prepare and submit to the County Executive Office an Energy Conservation Plan. Complete the white fields to determine required energy reductions and proposed energy generation or conservation measures to meet the required reduction target. Applicants that are unable to meet required reductions must submit proof of enrollment in a 100% Green Energy Plan.
ENERGY SOURCES USED FOR CULTIVATION ACTIVITIES
Power Source | Used for Cultivation Activities? |  | Associated Cultivation Activities
Type of power | "Yes" if power source will be used. "No" if power source will not be used. |  | E.g., illumination, heating, cooling, ventilation, dehumidification, CO2 injection, water handling. List all activities that apply for each power source. Activities may use multiple power sources.
Electricity
Natural Gas
Diesel
Heating Oil
Propane
Gasoline
Biofuels
Solar
Other:
Other:
ESTIMATED ENERGY USE FOR CONVENTIONAL CULTIVATION FACILITY
Cultivation Method | Size of Cultivation Area |  | Annual Anticipated Energy Use for a Conventional Facility (kBTU)
Indoor or mixed light | Indicate sqft for flowering canopy cultivation area only; do not include sqft used for other activity such as processing or distribution. |  | Calculated based on ranges of average energy use of indoor and mixed light environments measured in kBTU/sqft, based on flowering canopy area. Source: Resource Innovation Institute, CannabisPowerScore.org
Indoor Cultivation |  |  | 0
Mixed Light Cultivation |  |  | 0
TOTAL | 0 |  | 0
REQUIRED ENERGY REDUCTION TARGET
Required 25% energy use reduction below conventional facility energy use (kBTU) |  |  |  | 0
ENERGY CONSERVATION PLAN
Energy Generation Infrastructure Supplying Energy for Cultivation Activities
Onsite Renewable/CHP Infrastructure | Capacity (kW) | Annual Production (kWh) | Annual Production (kBTU) | Verification Documentation
Type of onsite renewable technology | List actual capacity for existing infrastructure, and anticipated capacity for planned infrastructure | List actual production for existing infrastructure, and anticipated production for planned infrastructure | Conversion from kWh to kBTU | See the Vertification tab for details and list the title of the document you will submit.
Solar |  |  | 0
Wind |  |  | 0
Geothermal |  |  | 0
Other: |  |  | 0
Other: |  |  | 0
GENERATION TOTAL | 0 | 0 | 0
Energy Conservation Infrastructure Reducing Energy for Cultivation Activities
Energy Efficiency Infrastructure | Used for Cultivation Activities? | Annual Production or Energy Savings (kWh) | Energy Savings (kBTU) | Energy Savings Validation / Verification Documentation
Type of technology | List yes or no. | For CHP list actual or anticipated annual production (kWh). For "Other" list expected energy efficiency savings (kWh). | Expected energy savings | See the Vertification Documentation tab for details. List yes to confirm required verification will be submitted.
LEDs - saves 34% *For indoor cultivation |  | N/A | FALSE | N/A - Assumes 34% savings based on Resource Innovation Institute study of indoor cannabis facilities in the PowerScore Ranked Dataset
LEDs - saves 17.5% *For mixed light cultivation |  | N/A | FALSE | N/A - Assumes 17.5% savings based on Wageningen University study published in Applied Energy
CHP/Co-generation - saves 20% |  |  | 0 | N/A - Assumes 20% savings derived from EPA CHP Partnership
Other: |  |  | 0
Other: |  |  | 0
CONSERVATION TOTAL |  | 0
GENERATION+CONSERVATION TOTAL |  | 0
COMPLIANCE WITH 25% REDUCTION REQUIREMENT
(Reduction target) minus (Generation+Conservation) = kBTUs above or below the reducation target |  |  |  | 0
Green cell indicates sufficient energy generation and conservation for compliance. Red cell indicates more generation or conservation is needed.
UNABLE TO ACHIEVE 25% REDUCTION
Compliance will be met via enrollment in a 100% green power plan if unable to achieve the 25% reduction
Confirm this compliance pathway by entering "Yes" and providing verification documentation from Clean Power Alliance or Southern California Edison.

## Verification Documentation
Verification Documentation
VERIFICATION OF ENERGY GENERATION INFRASTRUCTURE
Onsite Renewable/CHP Infrastructure | Verification Documentation
Type of onsite renewable technology | Provide vertification documentation for reach type of generation or conservation equipment used for your cultivation activities.
Solar, wind, geothermal or other renewable energy technology | -Existing: Production report from the equipment's energy monitoring system with annual production in kWh and peak capacity in kW. -Planned: System specs, system size (kW) and a report showing projected annual production (kWh).
VERIFICATION OF ENERGY CONSERVATION INFRASTRUCTURE
Energy Efficiency Infrastructure | Verification Documentation
Type of energy efficiency technology | Provide vertification documentation for reach type of generation or conservation equipment used for your cultivation activities.
CHP/Co-generation Saves 20% (Derived from EPA) | -Existing: System specs including system size and an annual production report in units appropriate to the type of co-generation system used onsite for cultivation activities. -Planned: System specs including system size and expected annual production based on professional analysis.
Other: | For non-LED and non-CHP energy efficiency technologies, provide an analysis from a professional engineer or energy analyst demonstrating annual savings over traditional, comparable energy technologies, or the absence of energy-saving technologies.
VERIFICATION OF GREEN POWER ENROLLMENT
100% Green Energy | Proof of enrollment with the cultivation facility address from Clean Power Alliance or Southern California Edison.